Chest X-Ray Image Classification Using Deep Learning (Normal vs Pneumonia)

The project includes:

- Data preprocessing

- Training four deep-learning models

- Performance comparison

- Deployment using Gradio

- Selecting the best model for real-time diagnosis

Dataset Description

The dataset is - chest X-ray dataset structured as:

Train: Normal, Pneumonia

Val: Normal, Pneumonia

Test: Normal, Pneumonia

Key characteristics

- Image Type: Grayscale X-rays

- Classes: Normal, Pneumonia

- Divided into training, validation, and testing

Preprocessing & Data Augmentation

Preprocessing Steps

- Resize all images to 224 × 224 pixels

- Normalize pixel values to [0, 1]

Data Augmentation

To reduce overfitting, real-time augmentation was applied using ImageDataGenerator:

- Rotation: ±15 degrees

- Width/height shifts

- Zoom

- Horizontal flip

- Brightness variation

Deep Learning Models Implemented

Four architectures were developed and evaluated:

Model 1: Custom CNN

- Convolution layers: 32 → 64 → 128 filters

- Batch normalization

- MaxPooling

- Dense layer (256 units) + Dropout

- Sigmoid output for binary classification

Model 2: VGG16

- Pretrained on ImageNet

- Feature extractor layers frozen

- Custom dense layers added

Model 3: VGG19

- Deeper architecture than VGG16

- More convolutional layers

- Greater learning capacity but slightly slower & more prone to overfitting

Model 4: ResNet50

- 50-layer deep residual network

- Skip connections to solve vanishing gradient problem

- Strong feature extraction capability

Training Setup

- Optimizer: Adam (LR = 0.0001)

- Loss: Binary Cross-Entropy

- Batch Size: 32

- Epochs: 5 (Custom CNN), 10 (VGG models)

- Evaluation Metrics: Accuracy, Confusion Matrix, ROC–AUC

Best Model Selection

Best Model: ANN

Reasons:

- Highest test accuracy (0.844551)

- Better confusion matrix balance

- Less overfitting

Deployment (Gradio Interface)

A simple real-time interface was created using Gradio to enable:

- Uploading a chest X-ray

- Automatic prediction (Normal/Pneumonia)

- Confidence score

URL: https://89da8b15b12a3aeeae.gradio.live

Sample test results